## MR16 7W
Dimming Information Required Format for LED Lighting Facts Submissions
Dimming Information is an optional metric. To include dimming information with a product submission, this Required Format must be used. Policies can be found in the Partner Participation Manual. Key points are listed below.
Dimming performance information is self-certified. The LED Lighting Facts Product Verification Team will review the table to verify all columns are filled and the model number for the submitted product can be found. Performance information will not be verify.
Information listed is for example purposes only
Dimmer Make | Dimmer Series - Model | Dimmer Trim Requirements | Transformer Make (low voltage lamps) | Transformer Model (low voltage lamps) | LED Lamp or Luminaire Series - Model | Dimming Range, max-min (% lumens) | Minimum Lamps or Luminaires (per circuit) | Maximum Lamps or Luminaires (per circuit) | Additional Comments
Lutron | Diva DVELV-300P | N/A | Hatch | VS12-60 | MR16 Series - SM16-09-xxD-xxx-xx | 100% - 7% | 1 | 6 | 9 watt lamps one lamp per xfrmr
MR16 Series - SM16-07-xxD-xxx-xx
MR16 Series - SM16-06-xxD-xxx-xx
MR16 Series - SM16-04-xxD-xxx-xx
Lutron | Maestro MAELV-600 | N/A | Lightech | LET 75 | MR16 Series - SM16-09-xxD-xxx-xx | 100%-10% | 1 | 13 | 9 watt lamps one lamp per xfrmr
MR16 Series - SM16-07-xxD-xxx-xx
MR16 Series - SM16-06-xxD-xxx-xx
MR16 Series - SM16-04-xxD-xxx-xx
Lutron | Skylark SELV-300P | N/A | Topstar | SL-728-150 | MR16 Series - SM16-09-xxD-xxx-xx | 100% - 9% | 1 | 6 | 9 watt lamp two lamps per transformer
MR16 Series - SM16-07-xxD-xxx-xx
MR16 Series - SM16-06-xxD-xxx-xx
MR16 Series - SM16-04-xxD-xxx-xx
What may be Changed
· Each row corresponds to a specific electrical circuit configuration.
· For multiple dimmers or multiple lamps or luminaires to be listed together in one row, all dimming information must be identical for any combination of 1 dimmer and the specified range of the number of lamps or luminaires that may be places on that circuit. Allowable combinations of different lamps or luminaires may be specifically identified in one row (see cells I12 and J12 above).
· Additional information not required may be entered in the “Additional Comments” column.
· Column widths and row heights may be adjusted as necessary.
· The color of the table may be changed to align with a partner’s brand or marketing materials.
· Dimming information for all products listed with LED Lighting Facts may be displayed in one table.
· Explanations of the Required Information can be found in the LED Lighting Facts Dimming Information FAQ at www.lightingfacts.com/resources
What may NOT be Changed
· Neither the column organization, nor the column headers, may be changed.
· No additional columns may be added.
· Neither the Title, nor copy included in the web page where the Dimming Information table is displayed may imply that DOE or LED Lighting Facts has verified the performance information listed.

## GU10 120V-7W
Dimming Information Required Format for LED Lighting Facts Submissions
Dimming Information is an optional metric. To include dimming information with a product submission, this Required Format must be used. Policies can be found in the Partner Participation Manual. Key points are listed below.
Dimming performance information is self-certified. The LED Lighting Facts Product Verification Team will review the table to verify all columns are filled and the model number for the submitted product can be found. Performance information will not be verify.
Information listed is for example purposes only
Dimmer Make | Dimmer Series - Model | Dimmer Trim Requirements | Transformer Make (low voltage lamps) | Transformer Model (low voltage lamps) | LED Lamp or Luminaire Series - Model | Dimming Range, max-min (% lumens) | Minimum Lamps or Luminaires (per circuit) | Maximum Lamps or Luminaires (per circuit) | Additional Comments
Cooper | DI06P | N/A | N/A | N/A | GU10 120V Series - SM16GA-07-xxD-xxx-xx | 100% - 4% | 1 | 16 | 7.5 watt lamp
Leviton | IPL06 | N/A | N/A | N/A | GU10 120V Series - SM16GA-07-xxD-xxx-xx | 100%-2% | 1 | 16 | 7.5 watt lamp
Lutron | Skylark SELV-300P | N/A | N/A | N/A | GU10 120V Series - SM16GA-07-xxD-xxx-xx | 100% - 6% | 1 | 8 | 7.5 watt lamp
What may be Changed
· Each row corresponds to a specific electrical circuit configuration.
· For multiple dimmers or multiple lamps or luminaires to be listed together in one row, all dimming information must be identical for any combination of 1 dimmer and the specified range of the number of lamps or luminaires that may be places on that circuit. Allowable combinations of different lamps or luminaires may be specifically identified in one row (see cells I12 and J12 above).
· Additional information not required may be entered in the “Additional Comments” column.
· Column widths and row heights may be adjusted as necessary.
· The color of the table may be changed to align with a partner’s brand or marketing materials.
· Dimming information for all products listed with LED Lighting Facts may be displayed in one table.
· Explanations of the Required Information can be found in the LED Lighting Facts Dimming Information FAQ at www.lightingfacts.com/resources
What may NOT be Changed
· Neither the column organization, nor the column headers, may be changed.
· No additional columns may be added.
· Neither the Title, nor copy included in the web page where the Dimming Information table is displayed may imply that DOE or LED Lighting Facts has verified the performance information listed.

## GU10 230V-7W
Dimming Information Required Format for LED Lighting Facts Submissions
Dimming Information is an optional metric. To include dimming information with a product submission, this Required Format must be used. Policies can be found in the Partner Participation Manual. Key points are listed below.
Dimming performance information is self-certified. The LED Lighting Facts Product Verification Team will review the table to verify all columns are filled and the model number for the submitted product can be found. Performance information will not be verify.
Information listed is for example purposes only
Dimmer Make | Dimmer Series - Model | Dimmer Trim Requirements | Transformer Make (low voltage lamps) | Transformer Model (low voltage lamps) | LED Lamp or Luminaire Series - Model | Dimming Range, max-min (% lumens) | Minimum Lamps or Luminaires (per circuit) | Maximum Lamps or Luminaires (per circuit) | Additional Comments
Mode | Evolution EVO-10-6 | N/A | N/A | N/A | GU10 230V Series - SM16GW-07-xxD-xxx-xx | 100% - 9% | 1 | 61 | 7.5 watt lamp 6 channels,10A per
Helvar | DALI Slider 454 | N/A | N/A | N/A | GU10 230V Series - SM16GW-07-xxD-xxx-xx | 100%-0% | 1 | 13 | 7.5 watt lamp 4 chan, 500 w per
Lutron | Grafik Eye QSNE-4A-D | N/A | N/A | N/A | GU10 230V Series - SM16GW-07-xxD-xxx-xx | 100% - 5% | 1 | 21 | 7.5 watt lamp 4 chan, 800w+ 3 x 500 w
What may be Changed
· Each row corresponds to a specific electrical circuit configuration.
· For multiple dimmers or multiple lamps or luminaires to be listed together in one row, all dimming information must be identical for any combination of 1 dimmer and the specified range of the number of lamps or luminaires that may be places on that circuit. Allowable combinations of different lamps or luminaires may be specifically identified in one row (see cells I12 and J12 above).
· Additional information not required may be entered in the “Additional Comments” column.
· Column widths and row heights may be adjusted as necessary.
· The color of the table may be changed to align with a partner’s brand or marketing materials.
· Dimming information for all products listed with LED Lighting Facts may be displayed in one table.
· Explanations of the Required Information can be found in the LED Lighting Facts Dimming Information FAQ at www.lightingfacts.com/resources
What may NOT be Changed
· Neither the column organization, nor the column headers, may be changed.
· No additional columns may be added.
· Neither the Title, nor copy included in the web page where the Dimming Information table is displayed may imply that DOE or LED Lighting Facts has verified the performance information listed.

## AR111 18W
Dimming Information Required Format for LED Lighting Facts Submissions
Dimming Information is an optional metric. To include dimming information with a product submission, this Required Format must be used. Policies can be found in the Partner Participation Manual. Key points are listed below.
Dimming performance information is self-certified. The LED Lighting Facts Product Verification Team will review the table to verify all columns are filled and the model number for the submitted product can be found. Performance information will not be verify.
Information listed is for example purposes only
Dimmer Make | Dimmer Series - Model | Dimmer Trim Requirements | Transformer Make (low voltage lamps) | Transformer Model (low voltage lamps) | LED Lamp or Luminaire Series - Model | Dimming Range, max-min (% lumens) | Minimum Lamps or Luminaires (per circuit) | Maximum Lamps or Luminaires (per circuit) | Additional Comments
Lutron | Grafik Eye QSGR- 6PCE + NGRX-ELVI-CE | N/A | Berker | Tronic Transformer 150w/2976 | AR111 Series - SR111-18-xxD-xxx-xx | 100% - 4% | 1 | 5 (xfrmr limit) | 18.5 watt lamp
Mode | Evolution EVO-DDM-305-TE | N/A | Osram | HTM70 | AR111 Series - SR111-18-xxD-xxx-xx | 100%-4% | 1 | 2 (xfrmr limit) | 18.5 watt lamp
Lutron | Diva DVELV-300P | N/A | Hatch | RS12-80M | AR111 Series - SR111-18-xxD-xxx-xx | 100% - 7% | 1 | 3 (xfrmr limit) | 18.5 watt lamp
What may be Changed
· Each row corresponds to a specific electrical circuit configuration.
· For multiple dimmers or multiple lamps or luminaires to be listed together in one row, all dimming information must be identical for any combination of 1 dimmer and the specified range of the number of lamps or luminaires that may be places on that circuit. Allowable combinations of different lamps or luminaires may be specifically identified in one row (see cells I12 and J12 above).
· Additional information not required may be entered in the “Additional Comments” column.
· Column widths and row heights may be adjusted as necessary.
· The color of the table may be changed to align with a partner’s brand or marketing materials.
· Dimming information for all products listed with LED Lighting Facts may be displayed in one table.
· Explanations of the Required Information can be found in the LED Lighting Facts Dimming Information FAQ at www.lightingfacts.com/resources
What may NOT be Changed
· Neither the column organization, nor the column headers, may be changed.
· No additional columns may be added.
· Neither the Title, nor copy included in the web page where the Dimming Information table is displayed may imply that DOE or LED Lighting Facts has verified the performance information listed.

## PAR30L 120V-18W
Dimming Information Required Format for LED Lighting Facts Submissions
Dimming Information is an optional metric. To include dimming information with a product submission, this Required Format must be used. Policies can be found in the Partner Participation Manual. Key points are listed below.
Dimming performance information is self-certified. The LED Lighting Facts Product Verification Team will review the table to verify all columns are filled and the model number for the submitted product can be found. Performance information will not be verify.
Information listed is for example purposes only
Dimmer Make | Dimmer Series - Model | Dimmer Trim Requirements | Transformer Make (low voltage lamps) | Transformer Model (low voltage lamps) | LED Lamp or Luminaire Series - Model | Dimming Range, max-min (% lumens) | Minimum Lamps or Luminaires (per circuit) | Maximum Lamps or Luminaires (per circuit) | Additional Comments
Cooper | DI06P | Low end | N/A | N/A | Par30L Series - SP30L-18-xxD-xxx-xx | 100% - 3% | 1 | 6 | 18.5 watt lamp
Par38 Series - SP38-18-xxD-xxx-xx
Lightolier | ZP600 | Low end | N/A | N/A | Par30L Series - SP30L-18-xxD-xxx-xx | 100%-1% | 1 | 6 | 18.5 watt lamp
Par38 Series - SP38-18-xxD-xxx-xx
Lutron | skylark S-600P | Low end | N/A | N/A | Par30L Series - SP30L-18-xxD-xxx-xx | 100% - 2% | 1 | 6 | 18.5 watt lamp
Par38 Series - SP38-18-xxD-xxx-xx
What may be Changed
· Each row corresponds to a specific electrical circuit configuration.
· For multiple dimmers or multiple lamps or luminaires to be listed together in one row, all dimming information must be identical for any combination of 1 dimmer and the specified range of the number of lamps or luminaires that may be places on that circuit. Allowable combinations of different lamps or luminaires may be specifically identified in one row (see cells I12 and J12 above).
· Additional information not required may be entered in the “Additional Comments” column.
· Column widths and row heights may be adjusted as necessary.
· The color of the table may be changed to align with a partner’s brand or marketing materials.
· Dimming information for all products listed with LED Lighting Facts may be displayed in one table.
· Explanations of the Required Information can be found in the LED Lighting Facts Dimming Information FAQ at www.lightingfacts.com/resources
What may NOT be Changed
· Neither the column organization, nor the column headers, may be changed.
· No additional columns may be added.
· Neither the Title, nor copy included in the web page where the Dimming Information table is displayed may imply that DOE or LED Lighting Facts has verified the performance information listed.

## PAR30S 120V-18W
Dimming Information Required Format for LED Lighting Facts Submissions
Dimming Information is an optional metric. To include dimming information with a product submission, this Required Format must be used. Policies can be found in the Partner Participation Manual. Key points are listed below.
Dimming performance information is self-certified. The LED Lighting Facts Product Verification Team will review the table to verify all columns are filled and the model number for the submitted product can be found. Performance information will not be verify.
Information listed is for example purposes only
Dimmer Make | Dimmer Series - Model | Dimmer Trim Requirements | Transformer Make (low voltage lamps) | Transformer Model (low voltage lamps) | LED Lamp or Luminaire Series - Model | Dimming Range, max-min (% lumens) | Minimum Lamps or Luminaires (per circuit) | Maximum Lamps or Luminaires (per circuit) | Additional Comments
Cooper | DI06P | N/A | N/A | N/A | Par30S Series - SP30S-18-xxD-xxx-xx | 100% - 5% | 1 | 6 | 18.5 watt lamps
Lightolier | ZP1000 | N/A | N/A | N/A | Par30S Series - SP30S-18-xxD-xxx-xx | 100%-4% | 1 | 10 | 18.5 watt lamps
Lutron | skylark SLV-600P | N/A | N/A | N/A | Par30S Series - SP30S-18-xxD-xxx-xx | 100% - 0% | 1 | 6 | 18.5 watt lamps
What may be Changed
· Each row corresponds to a specific electrical circuit configuration.
· For multiple dimmers or multiple lamps or luminaires to be listed together in one row, all dimming information must be identical for any combination of 1 dimmer and the specified range of the number of lamps or luminaires that may be places on that circuit. Allowable combinations of different lamps or luminaires may be specifically identified in one row (see cells I12 and J12 above).
· Additional information not required may be entered in the “Additional Comments” column.
· Column widths and row heights may be adjusted as necessary.
· The color of the table may be changed to align with a partner’s brand or marketing materials.
· Dimming information for all products listed with LED Lighting Facts may be displayed in one table.
· Explanations of the Required Information can be found in the LED Lighting Facts Dimming Information FAQ at www.lightingfacts.com/resources
What may NOT be Changed
· Neither the column organization, nor the column headers, may be changed.
· No additional columns may be added.
· Neither the Title, nor copy included in the web page where the Dimming Information table is displayed may imply that DOE or LED Lighting Facts has verified the performance information listed.

## AR111 12W
Dimming Information Required Format for LED Lighting Facts Submissions
Dimming Information is an optional metric. To include dimming information with a product submission, this Required Format must be used. Policies can be found in the Partner Participation Manual. Key points are listed below.
Dimming performance information is self-certified. The LED Lighting Facts Product Verification Team will review the table to verify all columns are filled and the model number for the submitted product can be found. Performance information will not be verify.
Information listed is for example purposes only
Dimmer Make | Dimmer Series - Model | Dimmer Trim Requirements | Transformer Make (low voltage lamps) | Transformer Model (low voltage lamps) | LED Lamp or Luminaire Series - Model | Dimming Range, max-min (% lumens) | Minimum Lamps or Luminaires (per circuit) | Maximum Lamps or Luminaires (per circuit) | Additional Comments
Lutron | Spacer SPSELV-600 | N/A | Lightech | LET 75 | AR111 Series - SR111-12-xxD-xxx-xx | 100% - 11% | 1 | 4 (xfrmr limit)
Lutron | Skylark SELV-300P | N/A | Lightech | LET 75 | AR111 Series - SR111-12-xxD-xxx-xx | 100%-7% | 1 | 4 (xfrmr limit)
Lutron | Diva DVELV-300P | N/A | Hatch | RS12-150 | AR111 Series - SR111-12-xxD-xxx-xx | 100% - 10% | 1 | 6 (dimmer limit)
What may be Changed
· Each row corresponds to a specific electrical circuit configuration.
· For multiple dimmers or multiple lamps or luminaires to be listed together in one row, all dimming information must be identical for any combination of 1 dimmer and the specified range of the number of lamps or luminaires that may be places on that circuit. Allowable combinations of different lamps or luminaires may be specifically identified in one row (see cells I12 and J12 above).
· Additional information not required may be entered in the “Additional Comments” column.
· Column widths and row heights may be adjusted as necessary.
· The color of the table may be changed to align with a partner’s brand or marketing materials.
· Dimming information for all products listed with LED Lighting Facts may be displayed in one table.
· Explanations of the Required Information can be found in the LED Lighting Facts Dimming Information FAQ at www.lightingfacts.com/resources
What may NOT be Changed
· Neither the column organization, nor the column headers, may be changed.
· No additional columns may be added.
· Neither the Title, nor copy included in the web page where the Dimming Information table is displayed may imply that DOE or LED Lighting Facts has verified the performance information listed.

## PAR30L PAR30S PAR20 12W
Dimming Information Required Format for LED Lighting Facts Submissions
Dimming Information is an optional metric. To include dimming information with a product submission, this Required Format must be used. Policies can be found in the Partner Participation Manual. Key points are listed below.
Dimming performance information is self-certified. The LED Lighting Facts Product Verification Team will review the table to verify all columns are filled and the model number for the submitted product can be found. Performance information will not be verify.
Information listed is for example purposes only
Dimmer Make | Dimmer Series - Model | Dimmer Trim Requirements | Transformer Make (low voltage lamps) | Transformer Model (low voltage lamps) | LED Lamp or Luminaire Series - Model | Dimming Range, max-min (% lumens) | Minimum Lamps or Luminaires (per circuit) | Maximum Lamps or Luminaires (per circuit) | Additional Comments
Cooper | DI06P | N/A | N/A | N/A | Par30L Series - SP30L-12-xxD-xxx-xx | 100% - 6% | 1 | 12 | 12 watt lamp
Par30S Series - SP30S-12-xxD-xxx-xx
Par20 Series- SP20-11-xxD-xxx-xx
leviton | 6633-P | N/A | N/A | N/A | Par30L Series - SP30L-12-xxD-xxx-xx | 100%-1% | 1 | 12 | 12 watt lamp
Par30S Series - SP30S-12-xxD-xxx-xx
Par20 Series- SP20-11-xxD-xxx-xx
Lutron | Diva DV-600P | N/A | N/A | N/A | Par30L Series - SP30L-12-xxD-xxx-xx | 100% - 4% | 1 | 12 | 12 watt lamp
Par30S Series - SP30S-12-xxD-xxx-xx
Par20 Series- SP20-11-xxD-xxx-xx
What may be Changed
· Each row corresponds to a specific electrical circuit configuration.
· For multiple dimmers or multiple lamps or luminaires to be listed together in one row, all dimming information must be identical for any combination of 1 dimmer and the specified range of the number of lamps or luminaires that may be places on that circuit. Allowable combinations of different lamps or luminaires may be specifically identified in one row (see cells I12 and J12 above).
· Additional information not required may be entered in the “Additional Comments” column.
· Column widths and row heights may be adjusted as necessary.
· The color of the table may be changed to align with a partner’s brand or marketing materials.
· Dimming information for all products listed with LED Lighting Facts may be displayed in one table.
· Explanations of the Required Information can be found in the LED Lighting Facts Dimming Information FAQ at www.lightingfacts.com/resources
What may NOT be Changed
· Neither the column organization, nor the column headers, may be changed.
· No additional columns may be added.
· Neither the Title, nor copy included in the web page where the Dimming Information table is displayed may imply that DOE or LED Lighting Facts has verified the performance information listed.