## Halogen 30W IR
50W Halogen MR16 and other LED MR16 Compared to Soraa 12W LED
Date:
Project:
Fill in all boxes in orange.
SPEC COMPARISON:
| Philips 50W halogen | LED MR16 Target | MSI PAR38 22.5º - 16W | Soraa 12W LED MR16 NFL25
| Existing Lamp Spec | Threshold Criteria | LED Retrofit Option C | LED Retrofit
Wattage | 50 | ≤15 | 16 | 12
Technology | Halogen | LED | LED | LED
UL listing | n/a | Yes | Yes | Yes
LED Chip Manufacturer | n/a | Major Brand | Cree | Soraa
LM79 Testing | n/a | Yes | Yes | Yes
Life (Hours) | 2500 | 25000 | 50000 | 25000
Warranty (Years) | n/a | 3 | 5 | 3
Total Lamp Lumens | 570 | 400-500 | 772 lm | 480
Beam Angle (50% CBCP) | 24º | ≥ 20º | 14.7º | 25º
CBCP | 2400 | ≥ 2400 cd | 5251 cd | 2400
LPW | 11.4 | 40 LPW | 48 LPW | 40
Color Temperature | 3000K | 2700 - 3000K | 3000 K | 2700 K or 3000K
CRI | 100 CRI | ≥ 80 CRI | 82 CRI | 85 CRI
Dimmability | Yes, to 0% | Not a Req. | Yes | Yes, to at least 20%
Power Factor | 1 | ≥ .90 | 0.979 | 0.93
PAYBACK ANALYSIS:
| Philips 50W halogen |  | MSI PAR38 22.5º - 16W | Soraa 12W LED MR16 NFL25
LAMP COST |  |  | 65 | 38
Sales Tax* |  |  | 65 | 0
Freight Estimate & Duty* |  |  | 65 | 0
Labor Cost** |  |  | 0 | 0
Utility Rebate Incentive*** |  |  | 0 | 0
NET INITIAL COST PER LAMP |  |  | #REF! | 38
Lamp Wattage + Transformer | 52 |  | 16 | 12
Annual Operating Hours | 4500 |  | 4500 | 4500
$/kWh | 0.14 |  | 0.14 | 0.14
Watts Saved |  |  | 36 | 40
Annual Energy Cost | 32.76 |  | 10.08 | 7.56
ANNUAL ENERGY SAVINGS PER LAMP |  |  | 22.68 | 25.2
Replacement Lamp Cost**** | 6 |  | 0 | 0
Replacement Labor Cost | 5 |  | 5 | 5
Lamp Life | 2500 |  | 50000 | 25000
Annual Operating Hours | 4500 |  | 4500 | 4500
Annual Relamping Cost | 19.8 |  | 0.45 | 0.9
ANNUAL MAINTENANCE SAVINGS PER LAMP |  |  | 19.35 | 18.9
Cooling Multiplier | 0.34 |  | 0.34 | 0.34
Annual % Cooling is Run | 100% |  | 100% | 100%
Adjusted Cooling Multiplier | 0.34 |  | 0.34 | 0.34
Adjusted HVAC Cost | 17.68 |  | 5.44 | 4.08
ANNUAL HVAC COOLING SAVINGS PER LAMP |  |  | 12.24 | 13.6
ANNUAL SAVINGS PER LAMP (Energy + Maint + Cool) |  |  | 54.27 | 57.7
SIMPLE PAYBACK PER LAMP (Energy) |  |  | #REF! | 1.5079
SIMPLE PAYBACK PER LAMP (Energy +Maint) |  |  | #REF! | 0.86168
SIMPLE PAYBACK PER LAMP (Energy +Maint +Cool) |  |  | #REF! | 0.65858
System Warranty in Years |  |  | 5 | 3
Years Warranty Remaining after Payback |  |  | #REF! | 2.3414
FUTURE CASH FLOW OVER SYSTEM WARRANTY PERIOD PER LAMP |  |  | #REF! | 135.1
System Expectancy in Years |  |  | 11.1111 | 5.5556
Years Expectancy after Payback |  |  | #REF! | 4.897
FUTURE CASH FLOW OVER SYSTEM EXPECTANCY PER LAMP |  |  | #REF! | 282.5556
SIMPLE ROI |  |  | #REF! | 1.5184
Estimated quantity lamps/sockets across project | 1000 |  |  | 1000
ANNUAL SAVINGS ACROSS PROJECT(Energy + Maint + Cool) |  |  |  | 57700
FUTURE CASH FLOW OVER SYSTEM WARRANTY PERIOD ACROSS PROJECT |  |  |  | 135100
NOTES:
* No sales tax included. Freight/duty estimated at 25% of lamp cost.
** Labor listed as $5 for lamp install.
*** This payback does not account for any rebates.
**** Replacement lamp price is estimated to include sales tax and freight.
Updated on 01/20/14